## Slide 1
Environmental Planning and Housing
(Sustainable Site Planning)
Presented by: Ruchi Saxena

## Slide 2: Site Selection

## Slide 3: Site Selection
Considerations
Limit development within/on
  100 year floodplains
  Prime farmland as defined by the USDA
  100' of wetlands
  50' of high quality bodies of water
  Habitat for endangered or threatened species

## Slide 4: Site Selection
Considerations
Select previously developed sites
  Greyfields
  Brownfields
Select sites that encourage
  Non-motorized tranportation
  Use of public transportation

## Slide 5: Site Layout

## Slide 6: Site Layout
Building Orientation
Energy savings of 25% +
80 can make a significant difference
Elongate on East/West axis
Maximize N & S exposure for daylighting
Minimize East & West facing windows
Orient most populated areas to N & S

## Slide 7: Site Layout Building Orientation

## Slide 8: Impervious Surfaces

## Slide 9: Impervious Surfaces
□Limit groundwater recharge
Increase polutant load
Increase runoff
Create heat island effect

## Slide 10: Impervious Surfaces
Minimize parking areas
  Zoning code minimum or less
  Incorporate compact car spaces when possible
  Reduce lane sizes
Plantings in and around parking areas
Green Roofs

## Slide 11: Impervious Surfaces
Pervious paving options
  Pervious pavement
  Pervious concrete
  Permeable pavers
  Grasspave systems